University of Delaware

Department of Occupational Health and Safety

Laboratory Process/Experiment/Equipment Standard Operating Procedure (SOP)

Pressure and Vacuum Processes and Experiments (January 2007)

SOP #:

SOP Title:

| Author: |
| --- |
| Signature: | Date: |
| Principal Investigator: |
| Signature: | Date: |
| OHS Approver (if necessary): |
| Signature: | Date: |

1.0 Introduction

2.0 Purpose

3.0 Scope

4.0 Responsibilities

Please select the general categories of personnel who could obtain approval to perform the process or experiment:

| Principal Investigator | Graduate Students | Undergraduates |
| --- | --- | --- |
| Technical Staff | Post Doctoral Employees |
| Other (Describe): |

Please list the specific personnel and their approval level (Attach an addendum to this form for additional personnel):

|  | Trained | Initial Training Date: |
| --- | --- | --- |
|  | Trained | Initial Training Date: |
|  | Trained | Initial Training Date: |
|  | Trained | Initial Training Date: |
|  | Trained | Initial Training Date: |

# The Principal Investigator will update this section when any personnel changes occur.  If changes occur, document the changes (include the record of training of additional personnel) in the laboratory’s files and submit an addendum to the University Chemical Hygiene Officer with all training documentation.

5.0 Hazards

6.0 Hazard Control Measures and Limitations

# Process or experiment shall be performed only in the following designated areas.

Check all that apply:

| Demarcated Area in Lab (Describe): |
| --- |
| Fume Hood | Glove Box |
| Other (Describe): |

7.0 Personal Protective Equipment

All personnel is required to wear the following personal protective equipment whenever handling this material:

- Proper Laboratory Attire (Pants, sleeved shirt, closed-toe shoes)

- Safety Glasses – Researchers must upgrade to chemical safety splash goggles if a splash, spray or mist hazard exists.  In general, safety glasses can be worn if the fume hood sash is properly positioned to provide the splash, spray and mist protection, otherwise indirect venting chemical safety splash goggles must be worn.

- Lab Coat

- Chemical Protective Gloves (Describe):

Personnel may be required to wear other Personal Protective Equipment when working with this material.  The Principal Investigator should contact the University Chemical Hygiene Officer to discuss the selection of chemical protective clothing (aprons, suits, and gloves) and respirators.  Please check all that apply:

| Chemical Safety Splash Goggles | Face Shield |
| --- | --- |
| Chemical Protective Clothing (Describe): |
| Respirator (Type): |
| Other (Describe): |

8.0 Procedural Steps

9.0 Training Requirements

- Review of current MSDS

- Review of the OSHA Lab Standard

- Review of the Chemical Hygiene Plan

- Special training provided by the department/supervisor (Right to Know)

- Review of the departmental safety manual if applicable

- Safety meetings and seminars

- One-on-One hands-on training with the Principal Investigator or other knowledgeable laboratory personnel.

- Other required training topics:

10.0 Emergency Procedures

11.0 Special Procedures and Precautions

Equipment under Pressure and/or Vacuum

|  |  | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1. | Source of pressure/vacuum (+/-): |
| 2. | Maximum source pressure: PSIG |
|  | Maximum operating pressure: PSIG |
|  | Maximum allowable working pressure: PSIG |
|  | Pressure relief device set point: PSIG |
| 3. | Is a pressure vessel involved? |  |  |  |
|  | If yes, has the pressure vessel been tested, approved and rated for the operation and experiments? |  |  |  |
|  | If yes, attached the applicable documentation |
| 4. | Are the equipment’s Materials of Construction compatible with all process materials? |
|  | Valves/Reliefs |  |  |  |
|  | Seals |  |  |  |
|  | Gauges |  |  |  |
|  | Hoses/Tubing |  |  |  |
|  | Fittings |  |  |  |
|  | Gaskets |  |  |  |
|  | Vessel |  |  |  |
| 5. | Have calculations been done to assure adequate headspace for expansion/decomposition during operations? |  |  |  |
|  | If yes, INCLUDE calculations with this review. |
| 6. | Are all components (valves, gauges, piping, hoses, etc.) rated above pressure relief device set point? |  |  |  |
|  | If no, list components and pressure ratings: |
| 7. | Are there any pressure safety interlocks? |  |  |  |
|  | If yes, describe: |
|  | If yes, location of quarterly log: |
| 8. | What precautions have been taken in the event of a pressure system failure? |
| 9. | Are rotameters shielded? |  |  |  |
|  | If yes, how? |
| 10. | Is a barricade or shield required to protect personnel from a catastrophic release? |  |  |  |
|  | If yes, describe: |
| 11. | Are gauges located properly (i.e. facing operator, correct position in line)? |  |  |  |
| 12. | Are gauges the proper range for the application? |  |  |  |
| 13. | Are gauges compatible with material (e.g. corrosive)? |  |  |  |
| 14. | Any mismatched fittings or tubing? |  |  |  |
|  | If yes, describe: |
|  | If yes, is the mismatch approved by the manufacturer? |  |  |  |
|  | Describe management of change process for future fitting changes. |
| 15. | Are relief device outlets pointed in a safe direction and unrestricted to vent? |  |  |  |
| 16. | Is the relief device suitable for dual phase (gas and liquid) operations? |  |  |  |
| 17. | At what temperature will relief devices be operated? |
|  | Are relief devices rated for this temperature? |  |  |  |
| 18. | Have relief devices been inspected/tested? |  |  |  |
|  | If yes, date of the most recent inspection: |
| 19. | Have the consequences of potential leaks been considered? |  |  |  |
|  | If yes, describe: |

* Additional Comments:

Use of Gasses in the Process/Experiment

One Gas per Sheet, Submit Multiple Pages as Necessary

|  |  | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1. | Name of gas (no abbreviations): |
|  | Potential Hazards: |
| 2. | Gas source: |
|  | House Supply |  |  |  |
|  | Vendor Cylinder |  |  |  |
|  | Dewar |  |  |  |
|  | Gas Generator |  |  |  |
|  | University Owned Cylinder |  |  |  |
|  | Has the cylinder been inspected? |  |  |  |
| 3. | Maximum supply pressure: PSIG |
| 4. | Maximum operating pressure: PSIG |
| 5. | Maximum allowable working pressure: PSIG |
| 6. | Pressure relief device set point: PSIG |
| 7. | Are all components (valves, gauges, hoses, etc.) rated above pressure relief device set point? |  |  |  |
|  | If no, list components and pressure ratings: |
| 8. | Are all components compatible with this gas? |
|  | Valves/Reliefs |  |  |  |
|  | Seals |  |  |  |
|  | Gauges |  |  |  |
|  | Regulators |  |  |  |
|  | Hoses/Tubing |  |  |  |
|  | Fittings |  |  |  |
|  | Gaskets |  |  |  |
|  | Reactor/Vessel |  |  |  |
| 9. | Does the process require cleaning before use (e.g. oxygen)? |  |  |  |
| 10. | Are there any gas safety interlocks? |  |  |  |
|  | If yes, describe: |
|  | If yes, location of quarterly log: |
| 11. | Are there any gas sensors/detectors? |  |  |  |
|  | If yes, describe: |
|  | If yes, what is the calibration schedule: |
| 12. | What precautions have been taken in the event of a pressure system failure? |  |  |  |
| 13. | Are gauges located properly (i.e. facing operator, correct position in line)? |  |  |  |
| 14. | Are gauges the proper range for the application? |  |  |  |
| 15. | Are check valves needed? |  |  |  |
|  | If yes, explain: |
| 16. | Is there a potential for cross contamination? |  |  |  |
|  | If yes, explain: |
| 17. | Are lines properly installed and labeled? |  |  |  |
| 18. | Are there any mismatched fittings or tubing? |  |  |  |
|  | If yes, explain: |
| 19. | Inspection frequency of pressure regulators: |
|  | 6 months |  |  |  |
|  | 2 years |  |  |  |
|  | No scheduled tests |  |  |  |
|  | Date of the most recent inspection: |
| 20. | Are relief device outlets pointed in a safe direction and unrestricted to vent? |  |  |  |
| 21. | At what temperature will relief devices be operated? |
|  | Are relief devices rated for this temperature? |  |  |  |
| 22. | Have relief devices been inspected/tested? |  |  |  |
|  | If yes, date of the most recent inspection: |
| 23. | Is gas flammable? |  |  |  |
|  | If yes, also complete the flammables checklist. |
| 24. | Is gas corrosive/toxic? |  |  |  |
|  | If yes, what precautions have been taken? Attach any Highly Toxic and Carcinogenic Material Procedures and Approvals. |
|  | Is a scrubber or pollution control device required? |  |  |  |
| 25. | Is the cylinder protected from exposure to heat sources or flammable liquids? |  |  |  |
| 26. | Where is gas cylinder kept and how is it secured when in service? |
| 27. | Where is gas cylinder kept and how is it secured when not in use? |

* Additional Comments:

12.0 Attachments