## Sheet1
R/V HUGH R. SHARP Equipment Cruise Planning Form
Cruise ID |  | P.I.
Dates:
Lifting Apparatus / Winches
Ship A-Frame
Center Lift Point (SWL 20,000 lbs.)
Upper T Extension (SWL 12,800 lbs.)
Comments:
Auxiliary Lifting Systems
Side Frame (SWL 16,600 lbs.)
AUV Crane (SWL 900 lbs.)
Comments:
Ship Installed Winches
| Starboard Trawl Winch |  | 1/2" wire (3,241m) |  | 9/16" wire (1,508m)
| Port Trawl (1,860m/0.681 fiber optic) | Client responsible for fiber & mechanical termination
Dedicated CTD (4,657m/0.322 E&M)
Comments:
Ship Portable Winches
| Mooring Winch (SWL BD 5,200 lbs.; FD 2,500 lbs.) |  |  | additional fee
Light Hydro Winch (853m/0.25" wire)
Tow Winch (Scanfish) (670m/0.489 E&M)
Comments:
Other Portable Deck Gear
Side Mount Sonar Pole
Horizontal Capstan
Vertical Capstan
Deck Tugger
Portable Deck Boom (SWL 2000 lb.)
Dive Ladder
Comments:
R/V HUGH R. SHARP Equipment Cruise Planning Form
Cruise ID |  | P.I.
Dates:
Standard Instrumentation
CTD (SBE 911 plus)
| 12 Bottle Frame & Carousel (SBE 32) | Standard
| Primary Temperature & Conductivity | Standard
| Secondary Temperature & Conductivity | Standard
| Eco-FL Fluorometer (WetLabs) | Standard (max depth 500m)
| Deep Eco-FL Fluorometer (WetLabs) | (max depth 6000m)
| Altimeter (Benthos) | Standard
| Oxygen Sensor | Standard
| G.O. 1010 Niskin Bottles | Standard, Number needed (max 12)
| G.O. 1005 Niskin Bottles | Number needed (max 8)
| G.O. 1010X Spring Niskin | Number needed (max 12)
| G.O. Go Flow | Assorted
| Client Provided | Specify below
Comments:
Surface Mapping System (SMS)
| Recorded 10 second readings, 1 hour files | Position, Weather, Surface Water
Output DGPS Serial RS-232
Output PosMV 5 plus Serial RS-232
Output Depth Knudsen 3260 Serial RS-232
Discreet Water Sampling Available
Comments:
ADCP
| 300 kHz Work Horse Mariner | Standard
600 kHz BB Rio Grand
Comments:
Knudsen 3260 Chirp
| 200 kHz /4x3.5 kHz array | Standard
Comments:
R/V HUGH R. SHARP Equipment Cruise Planning Form
Cruise ID |  | P.I.
Dates:
Laboratories
Laboratory Outfit
| DI & Q Grade Water Maker (10lt/hour) | Standard
Science Microwave
| Chemical Hood 1 | Dry Lab (currently have 1 hood, 3 locations)
| Chemical Hood 2 | Dry Lab (currently have 1 hood, 3 locations)
| Chemical Hood 3 | Wet Lab (currently have 1 hood, 3 locations)
| -80 Freezer, Dry Lab | samples must be pre-chilled to -40 before storing
| "Seawater" Chest Freezer (5cu.ft.) | Dry Lab
| "Seawater" Refrig/Freezer (6.9/2.7 cu.ft.) | Dry Lab
| "Fixative" Refrig/Freezer (10/3.4 cu.ft.) | Wet Lab
| "Biological" Chest Freezer (5 cu.ft.) | Wet Lab
| "Fixative" Refrig/Freezer (10/3.4 cu.ft.) | not normally installed
| "Seawater Upright Freezer (20 cu.ft.) | not normally installed
Note Refrig/Freezer:
"Seawater" = Seawater samples and non-noxious reagents. No preservatives, No Biologicals
"Fixatives" = Preserved water samples. No Biologicals
"Biological" = Mud, Fish, Bugs and Preservatives
Comments:
Laboratory Sampling
Lab Diaphragm Zooplankton Pump
Lab Centrifugal Chemical Pump
De-Bubbler with multi ports
Comments
Laboratory Instrumentation
Light Profiler (Biospherical Par BIS 2101)
Satlantic HPERPROCR Radiometer
| Sound Guard | Ship noise recording system
Turner AU-10 Lab Fluorometer
| XBT (no ship provided unit) | Required science instrument
Comments
R/V HUGH R. SHARP Equipment Cruise Planning Form
Cruise ID |  | P.I.
Dates:
Misc. Equipment
Coring
Box Core 16.5" x 16.5" x 25"
Smith Mac Bottom Grab 14" x 13" x 8"
| Gravity Core (2.5" tubes) | Science must supply tubes
Comments:
Incubators
Table (4"H x 91"L x 34"W)
Table 10" x 20"
Table 10" x 20"
Tub 300gal (24"H x 68"L x 60"W)
Tub 300gal (24"H x 68"L x 60"W)
Tub 150gal (24"D x 54"L x 36"W)
Tub 150gal (24"D x 54"L x 36"W)
Tub 100gal (24"D x 49"L x 27"W)
Tub 100gal (24"D x 49"L x 27"W)
Tub 50gal (11"D x 48"L x 28"W)
Tub 50gal (11"D x 48"L x 28"W)
Comments:
Specialized Instrumentation (additional day rate fee)
| RESON 7125 Multibeam 200/400 kHz | requires pre-planning and logistics
Comments:
| EVIA Mk III Scanfish/SBE 911plus CTD | requires pre-planning and logistics
Comments:
Additional Support
Ship's Support Boat 17' SafeBoat/90hp
Comments: (usage estimate, etc.)
R/V HUGH R. SHARP Equipment Cruise Planning Form
Cruise ID |  | P.I.
Dates:
UNOLS VAN POOL
Vans (additional day rate fee)
| General Purpose Laboratory | in-floor U-strut rails for tie-down
General Purpose Laboratory
General Purpose Laboratory
Wet/Dirty Purpose Laboratory
Isotope Purpose Laboratory
Isotope Purpose Laboratory
Isotope Purpose Laboratory 10ft.
Cold/Freezer Purpose Laboratory
Cold/Freezer Purpose Laboratory
Clean/Trace Metal Purpose Laboratory
AUV/ROV Support Purpose Laboratory
Note Van Request/Usage
Requests are on first come first use. Make requests early to ensure desired van
Ship can support up to two vans onboard
See Van Pool website for more detail: http://marops.cms.udel.edu/uecvp/
Comments:
Additional Van Support
Growth Chamber
| Center roof lift system | limited to general purpose van #1
Outside double door ramp
Inside double door short ramp
Comments:
Science Van Requirements
Comments: